LED Tube

T8 tube (YUL-19)

Base            G13

Weight          395g

Working Voltage  85~265V AC

Operating Temp   -20~40℃

Lifespan         50000 hours

Warranty        3Years Limited

Driver           Inside

LM              2200lm(3000K/4000K/6500K)

RA              80